# DURA BIKE LOCKER 3-PART SPECIFICATION

# PART 1 – GENERAL

  - SUMMARY

- This section includes:

- XR1 and XR2 Bicycle Rack

  - QUALITY ASSURANCE

- Installer Qualifications: An experienced installer who is familiar with concrete anchoring and has completed installation of similar bicycle racks.

- Manufacturer Qualifications: Experienced in manufacturing, finishing, and distributing bicycle parking products as specified.

- Source Limitations: For consistent appearance and physical performance as it relates to product, finish, shape, quality, and lead time; obtain each product from Dura Bike Locker.

- Product Options: Drawings indicate size, shape, finish, and mounting. Product options and quantities must be selected prior to quoting or ordering.

  - SUBMITTALS

- Product Data: Includes product specifications such as materials, mounting, and finish.

- Drawings: Shows details including dimensions, materials, and other options for each product.

- Samples: Finish samples will be provided upon request.

- Operating and Maintenance: Includes the recommended maintenance and repair recommendations for the specified product.

  - DELIVERY, STORAGE AND HANDLING

- Upon product delivery and BOL receipt, inspect for damage and ensure the quantities match the packing slip. Report any damage or missing parts within 24.

- Store product(s) in original undamaged packaging and containers until ready for installation.

- Handle product(s) with care to prevent any finish or material damage.

  - WARRANTY

- Bicycle racks carry a one-year manufacturer’s limited warranty against defects in materials and workmanship. The warranty period begins on the date of delivery.

# PART 2 - PRODUCTS

  - ACCEPTABLE MANUFACTURERS

- Dura Bike Locker, a division of Hannan Specialties, Inc. 3790 Bradview Dr., Sacramento, CA 95827| sales@durabikelocker.com | 800-722-BIKE (2453)

  - MATERIALS

- 2” Square ASTM A53 Carbon Steel

- 1/4” ASTM 36 Carbon Steel

- 3/8” ASTM 36 Carbon Steel

  - FINISHES

- Hot Dipped Galvanized

- TGIC Powder Coat with Electrostatic Primer

- 304 Stainless Steel Satin #4 Finish

  - Planning

- Hard Wall Set Back:

  - Perpendicular Placement - 20”

  - 30 Degree Angle - 18”

- Side Wall: 24” from Center Base

- Distance Between Racks:

  - Center to Center Parallel - 32”

  - Diagonal - 38 ½” – 44 ½”

- Street Set Back:

  - Parallel to Curb - 45”

  - Perpendicular to Street – 38”

PART 3 - EXECUTION

3.1 EXAMINATION

Examine footprint to ensure conditions are adequate per architect specifications and plans. Do not proceed with installation if conditions are not adequate for install. Notify project manager if conditions are unsatisfactory.

3.2 PREPARATION

Make sure the location of the racks is flat, level, square, accurate for alignment, and correctly located for the installation of bicycle racks.

3.3 INSTALLATION

- Surface Mount

- In Ground Mount

- Rail Mount

3.4 QUOTING

- Product specification: Make sure the product item, finish options, fasteners, and expected lead time have been included in estimate.

- Pricing: Estimates are good for 30 days; contact a Dura Bike Locker representative for a current pricing.

3.5 FREIGHT

- In most cases products ships LTL and in some cases may ship UPS, dependent on products and quantity. All shipments must be inspected for damage and counts within 24 hours off arrival. Call Dura Bike Locker at 1-800-722-2453 for all freight quotes or to file a shipping claim based on product receipt.

3.6 PURCHASING

- Product specification: Make sure the product item, finish options, fasteners, and expected lead time have been included in estimate.

- Pricing: Estimates are good for 45 days; contact a Ground Control Systems representative for a current price list if estimate has expired.

- Placing an order: You can order via phone 1-800-722-7425; email – info@durabikelocker.com. Or, if submitting purchase orders, mail to: 3790 Bradview Dr., Sacramento, CA 95827